## Sheet1
Question Type | Question | Option1 | Option2 | Option3 | Option4 | Option5 | Correct Answer | Default Marks | Default Time To Solve | Topic ID | Difficulty Level | Hint | Solution
MSA | The process that completely eliminates all forms of microbial life, including bacterial spores, is known as: | Disinfection | Sterilization | Sanitization | Antisepsis | Decontamination | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The D-value in sterilization validation is defined as the time required to: | Kill all microorganisms | Reduce the microbial population by 90% (1 log cycle) | Increase the temperature by 10°C | Reduce the bioburden by 50% | Inactivate viruses only | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The primary mechanism of microbial killing in a standard Autoclave is by: | Dry heat and oxidation | Moist heat (saturated steam under pressure) | Irradiation | Chemical action | Filtration | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | Which of the following is a critical parameter for Autoclave sterilization? | Light Intensity | Temperature, Time, and Pressure | Humidity only | Sound Frequency | Viscosity | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Aseptic Area" in a pharmaceutical plant typically has an air classification of: | Grade A and Grade B | Grade A and Grade B | Grade C and Grade D | Grade D only | Grade E | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The process of "Tyndallization" is a method of sterilization that uses: | Intermittent steaming (fractional sterilization) | Dry heat at 160°C | Ethylene Oxide gas | Gamma radiation | Filtration | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Biological Indicator" used for validating moist heat sterilization is: | Bacillus subtilis | Geobacillus stearothermophilus | Bacillus pumilus | Clostridium sporogenes | Escherichia coli | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The principle of "Hot Air Oven" sterilization is primarily: | Oxidation of cellular components by dry heat | Denaturation of proteins by moist heat | Alkylation of nucleic acids | Disruption of cell membranes | Breaking of DNA strands | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | Which of the following is a "High-Level Disinfectant"? | 70% Isopropyl Alcohol | 2% Glutaraldehyde | 0.1% Benzalkonium Chloride | 3% Hydrogen Peroxide | 5% Phenol | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Laminar Air Flow (LAF)" cabinet provides a work area with: | Unidirectional, HEPA-filtered air | Turbulent, unfiltered air | High humidity environment | Negative pressure | High temperature | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Pyrogen" that is most significant in pharmaceutical parenterals is: | Exotoxin | Bacterial Endotoxin (Lipopolysaccharide, LPS) | Mycotoxin | Enterotoxin | Aflatoxin | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The official test for Bacterial Endotoxins as per IP/USP is: | Rabbit Pyrogen Test | Limulus Amoebocyte Lysate (LAL) Test | Membrane Filtration Test | Sterility Test | Total Organic Carbon Test | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "F0 value" in steam sterilization represents the: | Equivalent sterilization time at 121.1°C | Time taken to reach 121.1°C | Cooling time after sterilization | Time for which pressure is applied | Time for drying the load | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Bowie-Dick Test" is performed to check the efficacy of: | Pre-vacuum steam sterilizers (for air removal) | Hot Air Ovens | Ethylene Oxide Sterilizers | Radiation Sterilization | Membrane Filters | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Z-value" in sterilization kinetics is the temperature change required to: | Change the D-value by 1 minute | Change the D-value by one log10 | Change the F0 value by 1 minute | Change the pH by 1 unit | Change the pressure by 1 atm | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Spores" used as a biological indicator for Ethylene Oxide (ETO) sterilization are: | Geobacillus stearothermophilus | Bacillus atrophaeus | Bacillus pumilus | Clostridium sporogenes | Bacillus subtilis | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The primary mechanism of action of Ethylene Oxide gas is: | Alkylation of proteins and nucleic acids | Oxidation | Denaturation by heat | Disruption of cell membranes | Intercalation into DNA | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Hold Time" study in a sterile manufacturing area is performed to validate the: | Maximum time a sterilized component or product can be held before use | Time taken to sterilize an item | Time for which an autoclave cycle runs | Time for cleaning equipment | Time for conducting LAL test | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Phenol Coefficient" test is used to evaluate the effectiveness of: | Disinfectants | Sterilants | Antiseptics | Preservatives | Antibiotics | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Schedule M" of the Drugs and Cosmetics Rules provides the requirements for: | Good Manufacturing Practices (GMP) | Clinical Trials | Pharmacovigilance | Drug Prices | Marketing | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Cylinder-Plate Method" (or Agar Diffusion Assay) for antibiotics is primarily based on the principle of: | Measurement of zone of inhibition around a standard and sample | Turbidimetric measurement of bacterial growth | Colorimetric reaction with a reagent | Titration against a standard solution | Measurement of fluorescence | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | Which microorganism is specified in the IP for the assay of Penicillin G by the cylinder-plate method? | Escherichia coli | Staphylococcus aureus | Bacillus subtilis | Klebsiella pneumoniae | Pseudomonas aeruginosa | 3 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Turbidimetric Method" for antibiotic assay measures: | The diameter of the zone of inhibition | The inhibition of microbial growth by measuring turbidity | The change in pH of the medium | The production of a specific metabolite | The oxygen consumption by microbes | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The primary standard used for the microbiological assay of Tetracycline is: | Tetracycline Hydrochloride | Tetracycline Hydrochloride BPCRS | Oxytetracycline | Doxycycline | Chloramphenicol | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | In the microbiological assay of Vitamin B12, the test organism used is: | Lactobacillus leichmannii | Lactobacillus leichmannii | Escherichia coli | Staphylococcus aureus | Saccharomyces cerevisiae | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "MIC" (Minimum Inhibitory Concentration) of an antibiotic is the: | Lowest concentration that prevents visible growth | Concentration that kills 99.9% of the inoculum | Concentration that produces a 20mm zone | Concentration used in the standard curve | Concentration that causes toxin production | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The assay of Streptomycin by the cylinder-plate method typically uses which test organism? | Bacillus subtilis | Klebsiella pneumoniae | Staphylococcus aureus | Escherichia coli | Micrococcus luteus | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Four-Point Assay" (2+2 dose) design is commonly used in microbiological assays to: | Reduce the cost of the assay | Improve accuracy by comparing two doses of standard and two doses of sample | Speed up the incubation time | Make the zones of inhibition larger | Allow the use of non-selective media | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | For the microbiological assay of Riboflavin (Vitamin B2), the test organism used is: | Lactobacillus casei | Lactobacillus casei | Enterococcus hirae | Neurospora crassa | Saccharomyces carlsbergensis | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The purpose of adding "TTC" (Triphenyl Tetrazolium Chloride) in some turbidimetric assays is to: | Act as a carbon source | Visualize microbial growth as a red color | Inhibit contaminating fungi | Stabilize the antibiotic | Adjust the pH of the medium | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Large Plate Method" for antibiotic assay can accommodate how many cylinders per plate? | 2 | 4 | 6 | 8 | 12 | 3 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The test organism used for the microbiological assay of Niacin (Nicotinic Acid) is: | Lactobacillus plantarum | Lactobacillus plantarum | Leuconostoc mesenteroides | Streptococcus thermophilus | Bacillus cereus | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Zone Reader" in a cylinder-plate assay is used to measure the: | Diameter of the zone of inhibition | Turbidity of the medium | pH of the medium | Thickness of the agar | Temperature of the plate | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The assay medium for antibiotics must be free from: | Antagonistic substances that interfere with the test | All carbon sources | All nitrogen sources | Indicator dyes | Buffers | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The microbiological assay of Folic Acid uses which test organism? | Enterococcus faecalis | Enterococcus faecalis | Lactobacillus casei | Streptococcus pyogenes | Bacillus megaterium | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Standard Curve" in a turbidimetric assay is a plot of: | Zone diameter vs. log concentration | Turbidity (or absorbance) vs. concentration | Time vs. zone size | pH vs. microbial growth | Temperature vs. inhibition | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Parallel Line Assay" principle requires that the dose-response lines for the standard and the sample are: | Perpendicular to each other | Parallel and linear in the working range | Curved and intersecting | Horizontal | Vertical | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The USP reference standard for the assay of Chloramphenicol is: | Chloramphenicol Palmitate | Chloramphenicol USP RS | Thiamphenicol | Azidamfenicol | Chloramphenicol Sodium Succinate | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The test organism used for the assay of Polymyxin B is: | Bordetella bronchiseptica | Bordetella bronchiseptica | Escherichia coli | Staphylococcus aureus | Proteus vulgaris | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Incubation Temperature" for most antibiotic assays using bacteria is: | 25-30°C | 35-37°C | 40-42°C | 55-60°C | 15-20°C | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The IMViC test series is used for the identification of which group of bacteria? | Coliforms (like E. coli) | Staphylococci | Streptococci | Clostridia | Mycobacteria | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Voges-Proskauer (VP)" test detects the production of: | Mixed acids | Acetoin (a neutral end product) | Indole | Hydrogen sulfide | Citrate utilization | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The serological test based on the clumping of particulate antigens (e.g., bacteria) with specific antibodies is called: | ELISA | Immunofluorescence | Agglutination | Precipitation | Western Blot | 3 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "PCR" (Polymerase Chain Reaction) technique is used to amplify: | Proteins | DNA sequences | Antibodies | Carbohydrates | Lipids | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "ELISA" technique is primarily used for the detection of: | Antigens or antibodies | Bacterial morphology | Sugar fermentation | Enzyme activity | Blood cell count | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Oxidase Test" is used to identify bacteria that possess: | Catalase enzyme | Cytochrome c oxidase | Tryptophanase | Urease | Coagulase | 2 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "Western Blot" technique is used to detect specific: | DNA sequences | RNA sequences | Proteins | Carbohydrates | Lipids | 3 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Hemagglutination Inhibition" test is commonly used in virology for: | Detecting and quantifying antibodies against viruses | Cultivating viruses | Isolating bacteria | Identifying fungi | Measuring toxin production | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Catalase Test" is used to differentiate between which two gram-positive cocci? | Staphylococcus (positive) and Streptococcus (negative) | Escherichia and Pseudomonas | Bacillus and Clostridium | Neisseria and Moraxella | Salmonella and Shigella | 1 | 2 | 72 | 242 | VERYEASY | NA | NA
MSA | The "RPR" (Rapid Plasma Reagin) test is a screening test for: | HIV | Hepatitis B | Syphilis | Tuberculosis | Malaria | 3 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Coomb's Test" (Antiglobulin Test) is used to detect: | Incomplete (non-agglutinating) antibodies | Complete antibodies | Antigens | Complement | Enzymes | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Indole Test" detects the ability of a bacterium to break down: | Glucose | Lactose | Tryptophan | Urea | Citrate | 3 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Cell Culture" technique used for virus cultivation often uses which of the following cell types? | Primary, diploid, or continuous cell lines | Blood agar plates | MacConkey agar | Sabouraud dextrose agar | Chocolate agar | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Widal Test" is a serological test used for the diagnosis of: | Typhoid fever | Brucellosis | Tularemia | Rickettsial diseases | Dengue | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Cytopathic Effect (CPE)" in virology refers to: | Morphological changes in host cells due to viral infection | Antibody production | Antigen-antibody reaction | Bacterial lysis | Fungal sporulation | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Southern Blot" technique is used for the detection of specific: | DNA sequences | RNA sequences | Proteins | Carbohydrates | Lipids | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Northern Blot" technique is used for the detection of specific: | DNA sequences | RNA sequences | Proteins | Carbohydrates | Lipids | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Triple Sugar Iron (TSI) Agar" test provides information on a bacterium's ability to ferment: | Glucose, Lactose, Sucrose and produce H2S | Mannitol only | Xylose and Arabinose | Fructose and Galactose | Starch and Cellulose | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Rocket Immunoelectrophoresis" is a quantitative technique for estimating: | DNA concentration | Antigen concentration | Antibiotic potency | Vitamin content | Enzyme activity | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "PCR" technique requires a thermostable enzyme called: | DNA Ligase | Taq DNA Polymerase | RNA Polymerase | Reverse Transcriptase | Restriction Endonuclease | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Biochemical Oxygen Demand" (BOD) is a measure of: | The total organic matter in water | The amount of oxygen consumed by microorganisms to decompose organic matter | The amount of oxygen produced by algae | The chemical oxidation of pollutants | The dissolved oxygen level at saturation | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The standard incubation period and temperature for the BOD test are: | 1 day at 20°C | 5 days at 20°C | 3 days at 37°C | 7 days at 25°C | 5 days at 37°C | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Which medium is used for the detection and enumeration of Escherichia coli and coliforms in water? | Nutrient Agar | MacConkey Broth/Lactose Broth | Sabouraud Dextrose Agar | Blood Agar | Chocolate Agar | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Chemical Oxygen Demand" (COD) test measures: | The oxygen equivalent of the organic matter susceptible to oxidation by a strong chemical oxidant | The oxygen used by bacteria in 5 days | The oxygen produced by photosynthesis | The oxygen dissolved in water | The biological oxygen consumption | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | A medium that contains substances that inhibit the growth of unwanted bacteria but allow the growth of desired bacteria is called a: | Differential Medium | Enrichment Medium | Selective Medium | Transport Medium | Assay Medium | 3 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "BOD Dilution Water" is seeded with a small amount of sewage or soil extract to provide: | Nutrients | A carbon source | A mixed population of microorganisms | A buffer | An indicator | 3 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Which medium is used for the isolation of Salmonella and Shigella from fecal samples? | Blood Agar | Xylose Lysine Deoxycholate (XLD) Agar | MacConkey Agar | Mannitol Salt Agar | Cetrimide Agar | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Theoretical BOD" (or Ultimate BOD) of a substance is calculated based on its: | Color | Chemical composition and stoichiometry | pH | Temperature | Turbidity | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Presumptive Coliform Test" in water analysis is performed using: | Double Strength and Single Strength MacConkey Broth with Durham's tube | Nutrient Agar plates | Blood Agar plates | Sabouraud Dextrose Agar | Tryptic Soy Broth | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | A medium that allows the differentiation of bacteria based on their metabolic reactions is called a: | Selective Medium | Differential Medium | Enriched Medium | Defined Medium | Complex Medium | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Nitrogen" and "Phosphorus" in BOD dilution water are added as nutrients in the form of: | Glucose and Sucrose | Ammonium Sulfate and Potassium Dihydrogen Phosphate | Sodium Chloride and Magnesium Sulfate | Calcium Carbonate and Ferric Chloride | Urea and Dipotassium Hydrogen Phosphate | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Confirmed Test" in water analysis involves streaking a positive presumptive tube on: | Nutrient Agar | Brilliant Green Lactose Bile (BGLB) Broth and/or selective agar | Blood Agar | Chocolate Agar | Tryptic Soy Agar | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Which medium is used for the selective isolation of Staphylococcus aureus? | MacConkey Agar | Mannitol Salt Agar (MSA) | XLD Agar | Cetrimide Agar | EMB Agar | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | A high BOD value in a water sample indicates: | High level of biodegradable organic pollution | High level of dissolved oxygen | Low level of microbial activity | High purity of water | High level of heavy metals | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Completed Test" for coliforms in water analysis involves: | Gram staining and a gas production test from a colony | Only a Gram stain | Only an oxidase test | Only a catalase test | Inoculation into TSI agar | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Winkler's Method" is used to determine: | Dissolved Oxygen (DO) | BOD | COD | Total Organic Carbon | pH | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Which medium is used for the detection of Pseudomonas aeruginosa? | Mannitol Salt Agar | Cetrimide Agar | MacConkey Agar | Blood Agar | Chocolate Agar | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "BOD Incubator" is maintained in the dark to: | Save electricity | Prevent photosynthetic oxygen production by algae | Prevent the growth of fungi | Maintain a constant temperature | Prevent evaporation | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Most Probable Number" (MPN) is a: | Statistical method to estimate the number of viable microorganisms in a sample | A direct count under microscope | A measure of turbidity | A measure of oxygen demand | A method to identify bacteria | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Which medium is enriched with blood and used for the growth of fastidious bacteria? | Nutrient Agar | Blood Agar | MacConkey Agar | Cetrimide Agar | Sabouraud Dextrose Agar | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Microbial Limit Test" (MLT) as per IP/USP is applied to: | Sterile pharmaceuticals (injectables) | Non-sterile pharmaceutical products | Active Pharmaceutical Ingredients only | Medical devices only | All of the above | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The primary mechanism of methicillin resistance in Staphylococcus aureus (MRSA) is: | Production of beta-lactamase | Production of an altered penicillin-binding protein (PBP2a) | Efflux pumps | Enzymatic inactivation | Target site modification | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Which of the following is a common pathogen causing hospital-acquired pneumonia? | Streptococcus pyogenes | Pseudomonas aeruginosa | Helicobacter pylori | Escherichia coli (non-pathogenic) | Bacillus subtilis | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Total Aerobic Microbial Count" (TAMC) in MLT is performed using: | Soya Bean Casein Digest Agar | MacConkey Agar | Sabouraud Dextrose Agar | Violet Red Bile Agar | Mannitol Salt Agar | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Beta-Lactamase" enzyme confers resistance by: | Altering the drug target | Hydrolyzing the beta-lactam ring | Activating efflux pumps | Modifying the antibiotic | Reducing cell wall permeability | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Test for Specified Microorganisms" in MLT typically does NOT include which pathogen? | Escherichia coli | Salmonella spp. | Pseudomonas aeruginosa | Staphylococcus aureus | Mycobacterium tuberculosis | 5 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Vancomycin resistance in Enterococcus faecium (VRE) is primarily due to: | Alteration of the peptidoglycan precursor (D-Ala-D-Lac) | Beta-lactamase production | Efflux pumps | Ribosomal mutation | Permeability barrier | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Which pathogen is a common cause of urinary tract infections (UTIs)? | Salmonella Typhi | Shigella dysenteriae | Uropathogenic Escherichia coli (UPEC) | Vibrio cholerae | Mycoplasma pneumoniae | 3 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Total Combined Yeasts and Molds Count" (TYMC) in MLT is performed using: | Soya Bean Casein Digest Agar | Sabouraud Dextrose Agar | MacConkey Agar | Blood Agar | Cetrimide Agar | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "ESBL" (Extended-Spectrum Beta-Lactamase) producing bacteria are resistant to: | Only Penicillin | Penicillins, Cephalosporins, and Aztreonam | Only Carbapenems | Only Aminoglycosides | Only Fluoroquinolones | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Pre-Enrichment" step in the test for Salmonella in MLT uses: | Selenite F Broth | Buffered Peptone Water | Tetrathionate Broth | Rappaport-Vassiliadis Broth | Alkaline Peptone Water | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Which antifungal drug acts by binding to ergosterol in the fungal cell membrane? | Fluconazole | Amphotericin B | Caspofungin | Terbinafine | Griseofulvin | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Kirby-Bauer Disk Diffusion" test is a method for: | Antibiotic Susceptibility Testing | Bacterial identification | Toxin detection | Vitamin assay | Sterility testing | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The pathogen known for causing gas gangrene is: | Clostridium tetani | Clostridium perfringens | Clostridium botulinum | Bacillus anthracis | Listeria monocytogenes | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Membrane Filtration" method is preferred for MLT when the product: | Is highly viscous | Is a solid dosage form | Has antimicrobial properties | Is a clear solution | Is intended for topical use | 3 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "MBC" (Minimum Bactericidal Concentration) is the lowest concentration of an antibiotic that: | Inhibits visible growth | Kills 99.9% of the initial inoculum | Causes a zone of inhibition of 20mm | Is safe for human use | Is achievable in the blood | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | Helicobacter pylori is associated with which disease? | Peptic ulcer and gastritis | Urinary tract infection | Meningitis | Tuberculosis | Food poisoning | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Dilution Method" for antibiotic susceptibility testing provides: | Only a qualitative result | The Minimum Inhibitory Concentration (MIC) | The zone diameter | The biochemical profile | The genetic basis of resistance | 2 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "Schedule M" of the Drugs and Cosmetics Rules provides the requirements for: | Good Manufacturing Practices (GMP) | Clinical Trials | Pharmacovigilance | Drug Prices | Marketing | 1 | 2 | 72 | 242 | MEDIUM | NA | NA
MSA | The "E-Test" (Epsilometer Test) is used to determine: | The Minimum Inhibitory Concentration (MIC) | The bacterial species | The presence of endotoxins | The sterility of a product | The microbial limit | 1 | 2 | 72 | 242 | MEDIUM | NA | NA