## Sheet1
Question Type | Question | Option1 | Option2 | Option3 | Option4 | Option5 | Correct Answer | Default Marks | Default Time To Solve | Topic ID | Difficulty Level | Hint | Solution
MSA | What is the unit of electrical resistance? | Ohm | Farad | Henry | Watt | Volt | 1 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Which law states that current is directly proportional to voltage and inversely proportional to resistance? | Ohm’s Law | Kirchhoff’s Law | Lenz’s Law | Coulomb’s Law | Faraday’s Law | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | The instrument used to measure electric current is called: | Voltmeter | Ammeter | Ohmmeter | Wattmeter | Galvanometer | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | In a transformer, the part that provides magnetic coupling is: | Core | Coil | Insulation | Bushings | Tank | 1 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | In DC machines, the commutator converts: | AC to DC | DC to AC | Mechanical to Electrical | Electrical to Mechanical | None | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | A lagging power factor indicates that: | Current leads voltage | Current lags voltage | Current equals voltage | Voltage lags current | None | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | The frequency of AC power supply in India is: | 50 Hz | 60 Hz | 25 Hz | 100 Hz | 75 Hz | 1 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Transformers work on the principle of: | Mutual Induction | Self Induction | Electrostatic Induction | Magnetoresistance | Hall Effect | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | The insulation resistance of a good cable should be: | Low | High | Moderate | Zero | Unstable | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | What is used to protect electrical circuits from overload? | Fuse | Resistor | Conductor | Capacitor | Diode | 1 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | A synchronous motor runs at: | Constant speed | Variable speed | High speed | Low speed | Zero speed | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | The color of neutral wire in domestic wiring is: | Red | Yellow | Black | Blue | Green | 4 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | The efficiency of a transformer is maximum when: | Copper loss = Iron loss | Copper loss > Iron loss | Iron loss > Copper loss | No load | Full load | 1 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | In a DC motor, the function of brushes is to: | Collect current | Supply voltage | Cool winding | Provide torque | Insulate winding | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Capacitor stores energy in the form of: | Magnetic field | Electric field | Mechanical force | Heat | Chemical energy | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | What is the main function of earthing? | Increase voltage | Protect against shock | Decrease resistance | Increase current | Power measurement | 2 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Which motor is used in ceiling fans? | Synchronous motor | DC shunt motor | Single phase induction motor | Stepper motor | Series motor | 3 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Power = Voltage × ? | Resistance | Current | Charge | Capacitance | Inductance | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | The purpose of using capacitor in power factor improvement is: | Increase current | Reduce losses | Reduce phase angle | Increase frequency | Decrease voltage | 3 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | What is the function of LT panel in distribution system? | High voltage transmission | Low voltage control and protection | Relay operation | Metering | Power generation | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Which instrument measures energy consumption? | Wattmeter | Energy meter | Ammeter | Voltmeter | Multimeter | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | The material used for fuse wire is: | Copper | Aluminium | Lead-tin alloy | Steel | Iron | 3 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Three-phase power supply consists of how many conductors? | 2 | 3 | 4 | 5 | 6 | 3 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Which of the following is a non-conductor? | Copper | Silver | Plastic | Aluminium | Iron | 3 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Transformer rating is expressed in: | Watts | Amperes | KVA | KW | Volts | 3 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Eddy current loss occurs in: | Winding | Core | Insulation | Frame | Brush | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | What is the main function of circuit breaker? | To control lighting | To protect circuit during fault | To increase current | To measure power | To store charge | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | The direction of current in DC is: | Alternating | Unidirectional | Changing | Reversing | None | 2 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Which type of transformer is used in distribution? | Step-up | Step-down | Isolation | Auto | Instrument | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Magnetizing current in transformer is: | Lagging voltage by 90° | Leading voltage by 90° | In phase | Opposite phase | Zero | 1 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | The property of material to oppose magnetic flux is called: | Reluctance | Permeability | Resistance | Conductance | Susceptibility | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | For safe operation, earthing resistance should be less than: | 10 ohm | 100 ohm | 1 ohm | 50 ohm | 500 ohm | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | In parallel circuit, voltage across each branch is: | Same | Different | Zero | Doubles | Half | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | A short circuit causes: | Increase resistance | Decrease current | Increase current | Decrease voltage | Power factor increase | 3 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | What is the typical value of power factor in industries? | 0.2 | 0.5 | 0.8 | 1 | 0.3 | 3 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | SCR stands for: | Silicon Controlled Rectifier | Super Current Regulator | Series Circuit Relay | Switching Control Resistor | System Current Rectifier | 1 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Which device converts AC to DC? | Rectifier | Inverter | Converter | Transformer | Inductor | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Power factor correction can be done by using: | Inductor | Resistor | Capacitor | Diode | Transformer | 3 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | The power loss in transmission line is proportional to: | V | I²R | IR | V²/R | R/I² | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Which device amplifies the weak signal? | Diode | Transistor | Resistor | Relay | SCR | 2 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | A Junior Engineer (Electrical) in TMC is mainly responsible for: | Software maintenance | Electrical maintenance and supervision | Civil project planning | Accounts | Transport operations | 2 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Street light maintenance in Thane city is under which department? | Water Supply | Electrical | Health | Solid Waste | Roads | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Which document defines the safety procedures for municipal electrical work? | Work Order | Electrical Safety Code | Project Tender | MOU | BOQ | 2 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | During transformer maintenance, which test ensures insulation health? | Open circuit test | Short circuit test | IR test | Load test | Capacitance test | 3 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | In TMC pumping station, motors are used for: | Air conditioning | Water pumping | Lighting | Waste management | Street lights | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Which instrument is used for earth resistance testing? | Megger | Ammeter | Voltmeter | Multimeter | Clamp meter | 1 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | Preventive maintenance of street lights should be carried out: | Once in a year | Once in a month | Once in six months | Daily | As per failure | 2 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Which parameter is important for energy saving in municipal buildings? | Voltage drop | Power factor | Resistance | Current rating | Relay setting | 2 | 2 | 72 | 117 | MEDIUM | NA | NA
MSA | Which law is applicable for safe electrical installation? | Factories Act | Indian Electricity Rules | Municipal Act | Labour Law | Environment Act | 2 | 2 | 72 | 117 | VERYEASY | NA | NA
MSA | A JE (Electrical) should report power faults to: | Ward Officer | Chief Electrical Engineer | Store Keeper | Driver | Health Officer | 2 | 2 | 72 | 117 | MEDIUM | NA | NA