## Sheet1
Question Type | Question | Option1 | Option2 | Option3 | Option4 | Option5 | Correct Answer | Default Marks | Default Time To Solve | Topic ID | Difficulty Level | Hint | Solution
MSA | What is the primary function of a hospital's biomedical engineering department concerning medical devices? | Purchasing all hospital supplies | Repair, maintenance, calibration, and safety testing | Training nurses on basic patient care | Managing the hospital's pharmacy inventory | Overseeing the hospital's food services | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | In electrocardiography (ECG), the QRS complex represents: | Atrial depolarization | Ventricular repolarization | Atrial repolarization | Ventricular depolarization | Sinoatrial (SA) node firing | 4 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is the unit of measurement for blood pressure? | Beats per minute (bpm) | Liters per minute (L/min) | Millimeters of mercury (mmHg) | Percent saturation (%) | Degrees Celsius (°C) | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | Bioactive materials are designed to: | Be completely inert within the body | Elicit a specific biological response | Degrade rapidly after implantation | Have a very high electrical conductivity | Be easily visible under X-ray | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the typical frequency range of electromyography (EMG) signals? | 0.05 Hz - 4 Hz | 20 Hz - 500 Hz | 1 kHz - 10 kHz | DC - 1 Hz | 1 MHz - 10 MHz | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What does the term 'vital capacity' refer to in respiratory physiology? | The volume of air inhaled during a normal breath | The volume of air exhaled during a normal breath | The total volume of air that can be exhaled after a maximal inhalation | The volume of air remaining in the lungs after a normal exhalation | The rate at which air can be inhaled or exhaled | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary advantage of using frameless stereotactic surgery systems? | Lower cost compared to frame-based systems | Increased patient comfort and flexibility | Higher accuracy in targeting deep brain structures | Shorter setup time in the operating room | Eliminates the need for pre-operative imaging | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the fundamental principle behind electroencephalography (EEG)? | Measuring changes in blood flow in the brain | Detecting the electrical activity of the brain using electrodes placed on the scalp | Imaging the metabolic activity of the brain | Measuring the magnetic fields produced by the brain | Detecting the presence of specific neurotransmitters | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is the role of a photomultiplier tube (PMT) in a PET scanner? | To generate the positrons | To detect the annihilation photons (gamma rays) | To focus the magnetic field | To cool the detectors | To amplify the radiofrequency signals | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary purpose of surgical retractors? | To cut through tissue | To stop bleeding during surgery | To hold tissues and organs out of the surgical field | To deliver irrigation fluids to the surgical site | To provide illumination of the surgical field | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary mechanism of action of an external cardiac pacemaker? | To deliver high-energy shocks to the heart | To mechanically pump blood for the patient | To deliver controlled electrical pulses to stimulate the heart to beat | To monitor the patient's heart rhythm continuously | To administer anti-arrhythmic medications intravenously | 3 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | Which of the following is a common invasive method for directly measuring arterial blood pressure? | Auscultation with a stethoscope | Palpation of peripheral pulses | Arterial line insertion with a transducer | Oscillometric measurement on the upper arm | Continuous non-invasive blood pressure monitoring | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary advantage of using robotic surgery for complex reconstructive procedures? | Reduced cost compared to traditional surgery | Shorter hospital stays for all patients | Enhanced precision and dexterity for the surgeon | Elimination of the need for anesthesia in some cases | Smaller surgical team required for all procedures | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | The World Health Organization (WHO) classifies medical devices based on: | Their country of origin | Their intended use and associated risks | Their market price | Their size and material composition | Their brand name and marketing strategy | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is a common cause of failure in artificial hip joints? | Changes in the patient's diet | Wear and tear of the articulating surfaces | Exposure to common household cleaners | Minor impacts or bumps to the joint | Changes in the patient's sleeping position | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | Polylactic acid (PLA) is a biodegradable polymer commonly used in tissue engineering for: | Long-term structural support | Temporary scaffolds that degrade over time | Applications requiring high electrical conductivity | Devices needing high optical transparency | Permanent implantable components | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What material is commonly used for sutures due to its strength and biocompatibility? | Cotton | Silk | Nylon or polypropylene | Paper | Wool | 3 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What does the term 'mean arterial pressure (MAP)' represent? | The peak pressure in the arteries during systole | The lowest pressure in the arteries during diastole | The average blood pressure during one cardiac cycle | The difference between systolic and diastolic pressure | The pressure in the veins | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary principle behind transcranial magnetic stimulation (TMS)? | Measuring the electrical activity of the brain | Using magnetic pulses to stimulate or inhibit brain activity | Imaging the blood flow in the brain | Detecting the metabolic activity of brain cells | Measuring the oxygen levels in brain tissue | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a common physiological artifact that can contaminate ECG signals? | Powerline interference | White noise | Baseline wander due to respiration | High-frequency electronic noise | Aliasing | 3 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | The International Electrotechnical Commission (IEC) develops standards for medical electrical equipment focusing on: | Biocompatibility of materials | Software design and validation | Safety and performance | Clinical trial protocols | Ethical considerations in device use | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a crucial step in the post-market surveillance of medical devices? | Initial marketing and sales efforts | Gathering and analyzing data on device performance and adverse events | Providing user training only upon initial purchase | Setting the device's reimbursement rates | Discontinuing support after a fixed period | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is the primary advantage of using force feedback in robotic surgery for delicate procedures? | Reducing the surgeon's fatigue | Allowing the surgeon to feel the tissues being manipulated | Eliminating the need for visual confirmation | Enabling surgery to be performed with larger instruments | Automating the suturing process | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary application of evoked potentials (EPs) in clinical neurophysiology? | Monitoring sleep stages | Assessing the functional integrity of specific sensory pathways | Measuring the overall electrical activity of the brain | Diagnosing psychiatric disorders | Localizing seizure activity in epilepsy | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary goal of vocational rehabilitation for individuals with disabilities? | To provide long-term medical care | To improve their physical strength and endurance | To enable them to obtain and maintain employment | To provide social and recreational activities | To manage their financial affairs | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the purpose of a scaffold in cartilage tissue engineering? | To provide nutrients to the chondrocytes only | To prevent immune rejection of the engineered cartilage | To provide a 3D structural support for cell growth and matrix deposition | To make the engineered cartilage radio-opaque | To control the rate of cell proliferation only | 3 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is a significant challenge in achieving targeted drug delivery using nanoparticles? | Synthesizing nanoparticles of the desired size | Preventing premature drug release in systemic circulation | Loading a sufficient amount of drug into the nanoparticles | Imaging the nanoparticles after administration | Ensuring the nanoparticles are completely non-toxic | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary function of a validation dataset in machine learning for medical imaging? | To train the model parameters | To tune the model's hyperparameters and evaluate its generalization performance | To provide the final unbiased evaluation of the trained model | To augment the training data with synthetic examples | To visualize the model's learned features | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | In blockchain for healthcare, what is a 'consensus mechanism'? | The method used to encrypt patient data | The process by which network participants agree on the validity of transactions | The protocol for exchanging data between hospitals | The hardware used to store the blockchain ledger | The software interface for accessing patient records | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a common application of virtual reality in the treatment of post-traumatic stress disorder (PTSD)? | Inducing vivid flashbacks of traumatic events | Providing a safe environment for exposure therapy and emotional processing | Surgically altering brain regions associated with trauma | Administering sedatives in a virtual environment | Diagnosing PTSD based on virtual reality simulations | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | Augmented reality can assist surgeons in surgical planning by: | Performing the surgery autonomously | Allowing visualization of 3D anatomical models overlaid on the patient | Eliminating the need for any pre-operative imaging | Providing haptic feedback during the planning stage | Automatically generating the surgical report | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary role of growth factors in nerve tissue engineering scaffolds? | To provide mechanical guidance for nerve regeneration | To prevent inflammation at the implant site | To promote neuron survival, axon growth, and myelination | To make the scaffold biodegradable | To enhance the electrical conductivity of the scaffold | 3 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is a common complication associated with prolonged mechanical ventilation? | Increased appetite | Muscle weakness and ventilator-associated pneumonia | Improved cardiovascular function | Enhanced cognitive abilities | Decreased risk of infection | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary function of a blood cell counter (hemocytometer)? | To measure the pH of blood | To determine the number and types of blood cells in a sample | To measure the oxygen-carrying capacity of blood | To assess the clotting ability of blood | To separate different components of blood | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | Which of the following is a common method for high-level disinfection of semi-critical medical devices? | Dry heat sterilization | Boiling in water for a short time | Liquid chemical disinfectants (e.g., glutaraldehyde) | Simple wiping with alcohol pads | Steam sterilization at low temperatures | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary purpose of gradient coils in an MRI system? | To generate the main static magnetic field | To transmit the radiofrequency pulses | To create spatially varying magnetic fields for image encoding | To detect the MR signal from the patient | To cool down the superconducting magnets | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a common material used for artificial corneas due to its transparency and biocompatibility? | Opaque polymers | Metallic alloys | Hydrogels and synthetic polymers | Ceramics | Biological tissues with high opacity | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What type of sensor is commonly used in implantable pressure monitoring devices (e.g., for intracranial pressure)? | Optical sensor | Strain gauge or piezoresistive sensor | Accelerometer | Temperature sensor | Chemical sensor | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is the primary goal of spectral analysis of biomedical signals? | To remove DC offset | To identify the frequency components present in the signal | To amplify the signal amplitude | To smooth out random noise fluctuations | To normalize the signal to a specific range | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is the primary function of a Service-Object Pair (SOP) Class in DICOM? | To define the physical connection between devices | To specify the data format for different types of medical information and the operations that can be performed on them | To manage the security protocols for data transfer | To describe the network configuration of DICOM nodes | To handle the printing of medical images | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a significant barrier to the widespread adoption of AI in clinical practice? | The low accuracy of current AI algorithms | The lack of trust and interpretability of AI decisions | The high cost of AI hardware and software | The ease with which AI systems can be hacked | The over-reliance on AI leading to deskilling of clinicians | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is a common application of virtual reality in the rehabilitation of patients with balance disorders? | Providing purely auditory feedback | Simulating challenging and realistic environments to improve balance control | Delivering electrical stimulation to vestibular organs | Monitoring eye movements during balance exercises | Providing passive mechanical support for standing | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | Augmented reality can assist pharmacists by: | Dispensing medications automatically | Providing real-time information about drugs overlaid on medication labels | Performing all compounding procedures robotically | Diagnosing patient conditions based on symptoms | Managing the pharmacy's inventory autonomously | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary role of the extracellular matrix (ECM) in tissue engineering? | To provide a source of stem cells | To prevent nutrient diffusion to the cells | To provide structural support, biochemical cues, and a microenvironment for cells | To actively contract and generate tissue force | To store waste products from the cells | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a major challenge in the long-term functionality of bioprinted blood vessels? | Achieving the correct diameter and length | Preventing thrombosis and maintaining patency | Ensuring the mechanical strength to withstand blood pressure | The high cost of endothelial cell bioinks | The inability to connect to existing vasculature | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is the primary focus of systems biology in biomedical engineering? | Studying individual genes in isolation | Analyzing the interactions and relationships within complex biological systems | Developing new biomaterials for medical implants | Designing new medical imaging modalities | Creating artificial organs for transplantation | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is a common method for analyzing protein-protein interactions? | DNA sequencing | RNA sequencing | Yeast two-hybrid assay or co-immunoprecipitation | Mass spectrometry alone | Gel electrophoresis alone | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a key factor in the biocompatibility of nanoparticles for drug delivery? | Their high electrical conductivity | Their large surface area to volume ratio | Their surface charge and hydrophobicity | Their ability to absorb all wavelengths of light | Their magnetic permeability | 3 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is the primary goal of explainable AI (XAI) in medical imaging analysis? | To generate higher resolution medical images | To make AI predictions about medical images understandable to clinicians | To reduce the computational cost of image processing | To automate the image acquisition process | To compress medical image data for storage | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a potential benefit of using blockchain for managing medical consent forms? | Faster processing of insurance claims | Automated scheduling of medical appointments | Secure, auditable, and immutable record of patient consent | Real-time tracking of medical device usage | Streamlined communication between doctors and patients | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a common type of sensor used in implantable insulin pumps? | Optical sensor | Pressure sensor | Electrochemical glucose sensor | Temperature sensor | Accelerometer | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a key benefit of using augmented reality for surgical instrument navigation? | Eliminating the need for any surgical instruments | Providing real-time visual guidance overlaid on the surgical field | Automatically controlling the surgeon's hand movements | Reducing the size of the surgical team | Shortening the duration of the surgical procedure | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is the primary goal of creating decellularized organ scaffolds for transplantation? | To provide a source of donor organs without immune rejection | To create inert structures for mechanical support only | To remove cellular components while preserving the organ's 3D structure and ECM | To make organs visible under standard microscopy | To increase the organ's shelf life at room temperature | 3 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is a major challenge in the clinical translation of 3D bioprinted tissues? | The inability to print more than one cell type | Ensuring long-term functionality and integration with the host tissue | The lack of suitable imaging techniques for printed tissues | The high cost of bioprinting equipment for hospitals | The ethical concerns surrounding the use of bioinks | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is the primary focus of bioinformatics in biomedical engineering? | Designing new medical devices using CAD software | Analyzing biological data using computational tools and algorithms | Developing new biomaterials for tissue engineering | Creating virtual reality simulations for medical training | Studying the mechanical properties of biological tissues | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | What is a common method for identifying protein biomarkers for disease? | DNA sequencing | RNA sequencing | Mass spectrometry-based proteomics | Light microscopy | Electron microscopy | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | What is a key consideration in the surface modification of nanoparticles to enhance drug delivery? | Increasing their overall mass | Making their surface extremely rough | Controlling their surface charge and ligand attachment | Coating them with a thick layer of metal | Giving them a strong hydrophobic core | 3 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | Which protein is targeted in glucose biosensors? | Hemoglobin | Glucose oxidase | Collagen | Myoglobin | Albumin | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | Piezoelectric materials are used in: | Pacemakers | Ultrasound transducers | X-ray tubes | Dialysis filters | ECG electrodes | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | The primary risk of MRI with ferromagnetic implants is: | Electrical shock | Torque/movement | Radiation | Infection | Allergies | 2 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | MEMS stands for: | Micro Electrical Medical Systems | Micro-Electro-Mechanical Systems | Molecular Energy Monitoring | Medical Equipment Management | None | 2 | 2 | 72 | 45 | MEDIUM | NA | NA
MSA | ECMO machines support: | Heart & lungs | Kidney function | Brain activity | Digestive system | Bone repair | 1 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | Myoelectric prosthetics are controlled by: | Muscle signals | Brain waves | Voice commands | Eye movement | Blood pressure | 1 | 2 | 72 | 45 | VERYEASY | NA | NA
MSA | ISO 10993 regulates: | Hospital safety | Biocompatibility testing | Drug dosage | Surgical procedures | Doctor training | 2 | 2 | 72 | 45 | VERYEASY | NA | NA