## Sheet1
Question Type | Question | Option1 | Option2 | Option3 | Option4 | Option5 | Correct Answer | Default Marks | Default Time To Solve | Topic ID | Difficulty Level | Hint | Solution
MSA | What is the minimum plot area for constructing a nursing home in Residential Zone? | 500 sq.m | 750 sq.m | 1000 sq.m | 1500 sq.m | 2000 sq.m | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Maximum permissible height for a compound wall abutting a road wider than 9m? | 1.2m | 1.5m | 1.8m | 2.0m | 2.4m | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Which of these requires mandatory NOC from Fire Brigade? | Buildings <15m | Buildings >24m | Buildings >30m | Only hospitals | All buildings | 3 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Minimum width of a staircase serving 50 occupants? | 0.9m | 1.0m | 1.2m | 1.5m | 2.0m | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | As per TOD policy, FSI bonus is allowed within ___ meters of metro stations? | 200m | 500m | 800m | 1km | No limit | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the minimum setback required for buildings above 70m height? | 6m | 9m | 12m | 15m | 18m | 3 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Which authority approves building plans in Coastal Regulation Zone (CRZ)? | BMC | MoEFCC | State Govt. | Collector | MPCB | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Minimum width of a corridor in educational buildings? | 1.2m | 1.5m | 1.8m | 2.0m | 2.4m | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the minimum parking requirement for an office (per 100 sq.m)? | 1 ECS | 1.5 ECS | 2 ECS | 2.5 ECS | 3 ECS | 1 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Maximum ground coverage for industrial buildings in MIDC areas? | 40% | 50% | 60% | 70% | 80% | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the minimum road width for fire tender access in high-rise buildings? | 6m | 9m | 12m | 15m | 18m | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Maximum permissible cantilever projection in residential buildings? | 0.5m | 0.75m | 1.0m | 1.2m | 1.5m | 3 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Minimum headroom required for basement parking? | 2.1m | 2.4m | 2.7m | 3.0m | 3.3m | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What percentage of total area must be reserved for recreational open space in layouts? | 5% | 10% | 15% | 20% | 25% | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Minimum width of a main entrance door in residential buildings? | 0.75m | 0.9m | 1.0m | 1.2m | 1.5m | 2 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Minimum RCC column size for G+4 buildings? | 200x200mm | 230x230mm | 250x250mm | 300x300mm | 350x350mm | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Maximum allowable slope for wheelchair ramps? | 1:06 | 1:12 | 1:15 | 1:20 | 1:25 | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Fire resistance rating for basement walls? | 1 hour | 2 hours | 3 hours | 4 hours | Not required | 2 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Minimum width of a hospital corridor? | 1.5m | 1.8m | 2.0m | 2.4m | 3.0m | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Mandatory rainwater harvesting for plots above? | 500 sq.m | 1000 sq.m | 1500 sq.m | 2000 sq.m | 3000 sq.m | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Who approves building plans in heritage zones? | Commissioner | Heritage Committee | Mayor | State Govt | Corporators | 2 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Maximum time for BMC to process occupancy certificate? | 15 days | 30 days | 45 days | 60 days | 90 days | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Penalty for obstructing municipal drains? | 1000 | 2500 | 5000 | 7500 | 10000 | 3 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Which section mandates fire safety in high-rises? | Section 104 | Section 354A | Section 400 | Section 488 | Section 510 | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | BMC's power to remove encroachments comes under? | Section 45 | Section 314 | Section 222 | Section 167 | Section 499 | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Who appoints the Metropolitan Planning Committee? | Municipal Commissioner | Chief Minister | Governor | State Government | President | 4 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Minimum width of access road for plots >2000 sq.m? | 6m | 12m | 9m | 15m | 18m | 3 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Time limit for appeal against planning authority's order? | 30 days | 15 days | 45 days | 60 days | 90 days | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Which section deals with Transferable Development Rights (TDR)? | Section 22 | Section 45 | Section 37(1A) | Section 68 | Section 126 | 3 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Land reservation for EWS in layouts >4000 sq.m? | 5% | 15% | 10% | 20% | 25% | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the role of the Municipal Commissioner in the tender approval process? | Approve Packet A | Approve Packet B | Approve Packet C | Approve all packets | None of the above | 4 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the percentage rebate threshold for Additional Security Deposit under GCC? | 5% | 10% | 12% | 15% | No threshold | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the penalty for unauthorized deviation from approved construction plans? | Rs. 10,000 | Rs. 25,000 | Rs. 50,000 | Rs. 1,00,000 | None of the above | 3 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Which clause specifies safety provisions for workers under GCC? | Clause 7.a | Clause 5.u | Clause 6.c | Clause 8.e | Clause 9.b | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the defect liability period for newly constructed culverts? | 1 year | 2 years | 3 years | 5 years | None of the above | 3 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Which document is mandatory for Packet C submission in the tender process? | Financial bid | Technical specifications | EMD receipt | All of the above | None of the above | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the penalty for unauthorized construction under BMC regulations? | 10000 | 50000 | 100000 | 500000 | Demolition of structure | 5 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Which department handles disaster management in BMC? | Fire Brigade | Health Department | Disaster Management Cell | Engineering Department | Revenue Department | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the role of the Standing Committee in BMC? | Approves budgets | Sanctions projects | Reviews policies | All of the above | None of the above | 4 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | What is the minimum diameter of pipelines considered for major water supply projects? | 500 mm | 800 mm | 1000 mm | 1200 mm | None of the above | 4 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | What is the penalty for failing to attend the Pre-Bid meeting? | Rs. 5,000 | Rs. 10,000 | Rs. 15,000 | No penalty | None of the above | 4 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | What is the maximum time allowed for grievance redressal under BMC's citizen charter? | 7 days | 15 days | 30 days | 45 days | No fixed time | 3 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | What is the penalty for non-compliance with environmental standards under BMC contracts? | 1000 | 5000 | 10000 | Not Specified | 100000 | 4 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Contract period includes/excludes which season? | Monsoon | Winter | Summer | Spring | Rainy | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Which Act governs the e-tendering process legally? | Information Technology Act | Companies Act 2013 | Sales of Goods Act | Environment Protection Act | Municipal Act | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Contractor has to submit contract documents within how many days? | 30 days | 60 days | 15 days | 10 days | 90 days | 1 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Requirement of technical staff is based on what factor? | Cost of Work | Area of Work | Number of Employees | Project Size | Revenue | 1 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Which certificate must be digitally signed? | All uploaded documents | Financial Documents | PAN Documents | Project Reports | Drawings | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | How is the cost of executed works updated? | 10% per annum | 5% per annum | Compounded monthly 2% | Fixed flat rate | 15% per annum | 1 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | Penalty for not paying Contract Deposit in time? | Cancellation of Tender | Suspension | Blacklisting | Fine ₹10,000 | Warning Notice | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The maximum permissible deflection for a simply supported beam is: | Span/250 | Span/300 | Span/350 | Span/400 | Span/500 | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The minimum percentage of steel in a column as per IS 456:2000 is: | 0.8% | 1% | 1.2% | 1.5% | 2% | 1 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | The maximum percentage of steel in a column is: | 4% | 6% | 8% | 10% | 12% | 2 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | The minimum lap length for tension bars in compression is: | 24φ | 30φ | 40φ | 50φ | 60φ | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The maximum spacing of bars in a slab is: | 2d or 300 mm | 3d or 300 mm | 4d or 450 mm | 5d or 500 mm | None of these | 2 | 1 | 54 | 65 | MEDIUM | NA | NA
MSA | The minimum cover for reinforcement in a footing is: | 40 mm | 50 mm | 60 mm | 75 mm | 100 mm | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The maximum size of coarse aggregate in RCC is limited to: | 1/4th of slab thickness | 1/5th of slab thickness | 1/6th of slab thickness | 1/8th of slab thickness | None of these | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The minimum diameter of stirrups in a beam is: | 6 mm | 8 mm | 10 mm | 12 mm | 16 mm | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The minimum number of bars in a circular column is: | 4 | 6 | 8 | 10 | 12 | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The minimum thickness of a footing slab is: | 100 mm | 150 mm | 200 mm | 250 mm | 300 mm | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The main function of a lintel over an opening in a wall is to: | Provide ventilation | Provide lighting | Support the load above the opening | Enhance the appearance | Provide security | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The type of paint that provides a hard, glossy finish is: | Emulsion paint | Distemper | Enamel paint | Cement paint | Oil paint | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The process of leveling the ground surface before construction is called: | Excavation | Filling | Grading | Compaction | Terracing | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The minimum diameter of longitudinal bars in a column should be: | 6 mm | 8 mm | 10 mm | 12 mm | 16 mm | 4 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The maximum spacing of main reinforcement in a reinforced concrete slab should not exceed: | Two times the effective depth | Three times the effective depth | Four times the effective depth | Five times the effective depth | Six times the effective depth | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The type of aggregate that is obtained from natural disintegration of rocks is called: | Crushed aggregate | Artificial aggregate | Uncrushed aggregate | Fine aggregate | Coarse aggregate | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The phenomenon of loss of strength and stiffness of concrete due to prolonged exposure to aggressive environments is called: | Creep | Shrinkage | Fatigue | Corrosion | Deterioration | 5 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The minimum period for curing concrete using the water ponding method is usually: | 3 days | 7 days | 14 days | 21 days | 28 days | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The type of scaffolding consisting of vertical posts, horizontal ledgers, and transoms is called: | Suspended scaffolding | Cantilever scaffolding | Independent scaffolding | Single pole scaffolding | Trestle scaffolding | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The process of applying a thin coat of mortar over a brick or stone masonry surface to provide a smooth finish is called: | Plastering | Pointing | Rendering | Grouting | Cladding | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The unit for measuring the rate of flow of sewage is usually: | Liters per day (LPD) | Cubic meters per day (m³/day) | Million liters per day (MLD) | Kilograms per day (kg/day) | Parts per million (ppm) | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The gas that is commonly produced during the anaerobic decomposition of sewage is: | Oxygen | Carbon dioxide | Methane | Nitrogen | Hydrogen sulfide | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The Biochemical Oxygen Demand (BOD) test is used to determine the: | Amount of dissolved oxygen in water | Rate of oxidation of organic matter | Strength of biodegradable organic matter in wastewater | Presence of pathogenic bacteria | Acidity or alkalinity of water | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The Chemical Oxygen Demand (COD) of wastewater is a measure of: | Biodegradable organic matter only | Non-biodegradable organic matter only | Both biodegradable and non-biodegradable organic matter | Dissolved oxygen | Suspended solids | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The ratio of BOD5 to COD for domestic sewage is usually: | < 0.1 | 0.2 - 0.4 | 0.6 - 0.8 | > 1.0 | Around 0.5 | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The permissible limit for BOD5 in treated wastewater to be discharged into inland surface waters as per CPCB norms is usually: | 10 mg/L | 20 mg/L | 30 mg/L | 50 mg/L | 100 mg/L | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The process of removing grease and oil from wastewater is called: | Screening | Grit removal | Skimming | Sedimentation | Filtration | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Which of the following is a physical unit operation in wastewater treatment? | Activated sludge process | Trickling filter | Sedimentation | Anaerobic digestion | Biological nitrification | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Which of the following is a biological unit operation in wastewater treatment? | Screening | Grit removal | Flocculation | Activated sludge process | Disinfection | 4 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The purpose of providing ventilation in sewers is to: | Remove foul gases | Supply oxygen for aerobic decomposition | Prevent corrosion | Reduce pressure buildup | All of the above | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The coefficient of longitudinal friction assumed for calculating stopping sight distance is typically in the range of: | 0.1 - 0.2 | 0.3 - 0.4 | 0.5 - 0.6 | 0.7 - 0.8 | > 0.8 | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The overtaking sight distance depends on: | Speed of the overtaking vehicle | Speed of the overtaken vehicle | Speed of the vehicle coming from the opposite direction | All of the above | Gradient of the road | 4 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The aggregate crushing value is a measure of: | Strength of aggregate | Hardness of aggregate | Toughness of aggregate | Durability of aggregate | Shape of aggregate | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The flakiness index of aggregate is related to its: | Size | Shape | Strength | Water absorption | Impact resistance | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | Bitumen is a material that is: | Highly viscous at high temperatures | Soluble in water | Ductile at low temperatures | Crystalline in structure | A good conductor of heat | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | A catch basin in stormwater drainage system is used for? | Increasing flow velocity | Trapping debris | Reducing pipe diameter | Increasing infiltration | Measuring flow | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The slope of stormwater drains is generally expressed as? | Percentage | Ratio (1:n) | Degrees | Radians | Gradient number | 1 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | First flush devices in stormwater management are used to? | Increase flow velocity | Divert initial polluted runoff | Reduce pipe size | Increase infiltration | Measure rainfall | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The maximum allowable velocity in RCC stormwater drains to prevent erosion is? | 1 m/s | 2 m/s | 3 m/s | 4 m/s | 5 m/s | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | As per IS standards, the minimum diameter of stormwater drain pipe is? | 150 mm | 200 mm | 250 mm | 300 mm | 400 mm | 4 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The main compound responsible for initial setting of cement is? | C₂S | C₃S | C₃A | C₄AF | Gypsum | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The fineness of cement is measured by? | Vicat apparatus | Le Chatelier apparatus | Blaine air permeability test | Slump test | Compressive testing machine | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The minimum grade of concrete recommended for RCC works as per IS 456 is? | M10 | M15 | M20 | M25 | M30 | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The soundness of cement is tested using? | Vicat apparatus | Le Chatelier apparatus | Compressive testing machine | Slump cone | Flow table | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The maximum water-cement ratio for M30 grade concrete in mild exposure is? | 0.40 | 0.45 | 0.5 | 0.55 | 0.6 | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The standard temperature for moist curing of concrete test specimens is? | 20±2°C | 23±2°C | 27±2°C | 30±2°C | 35±2°C | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The minimum number of cubes to be cast for compressive strength test per batch is? | 1 | 2 | 3 | 4 | 5 | 3 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The IS code for methods of tests for strength of concrete is? | IS 456 | IS 383 | IS 10262 | IS 516 | IS 4926 | 4 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The process of concrete gaining strength with time is called? | Curing | Hydration | Compaction | Segregation | Bleeding | 2 | 1 | 54 | 65 | VERYEASY | NA | NA
MSA | The main disadvantage of using sea water for mixing concrete is? | Increases workability | Reduces setting time | Causes corrosion of reinforcement | Improves strength | Reduces heat of hydration | 3 | 1 | 54 | 65 | VERYEASY | NA | NA