## Sheet1
Question Type | Question | Option1 | Option2 | Option3 | Option4 | Option5 | Correct Answer | Default Marks | Default Time To Solve | Topic ID | Difficulty Level | Hint | Solution
MSA | Which of the following is NOT a primary consideration in the design of implantable medical devices? | Biocompatibility | Mechanical strength | Electrical safety | Sterilizability | Aesthetic appeal | 5 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Biomedical engineers play a crucial role in the advancement of which of the following fields? | Aerospace engineering | Chemical engineering | Agricultural engineering | Healthcare technology and medicine | Civil engineering | 4 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which of the following medical devices is used for external cardiac pacing? | Implantable Cardioverter-Defibrillator (ICD) | Implantable Loop Recorder | Transcutaneous Cardiac Pacemaker | Left Ventricular Assist Device (LVAD) | Artificial Heart Valve | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | The effectiveness of sterilization methods for medical devices is typically validated using: | Visual inspection | Temperature monitoring | Biological indicators | Chemical indicators | Pressure gauges | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What type of electrode is commonly used for long-term EEG monitoring? | Needle electrodes | Surface cup electrodes | Intracortical electrodes | Microelectrode arrays | Depth electrodes | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which of the following parameters is typically measured using a capnograph? | Blood oxygen saturation | Heart rate variability | Carbon dioxide concentration in exhaled breath | Respiratory flow rate | Lung volumes | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | What is the primary principle behind the operation of a harmonic scalpel used in surgery? | Thermal coagulation | Electrical resistance heating | Ultrasonic vibration | Laser ablation | Radiofrequency ablation | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which imaging modality provides real-time moving images of internal structures, often using a contrast agent? | Computed Tomography (CT) | Magnetic Resonance Imaging (MRI) | Fluoroscopy | Ultrasound | Positron Emission Tomography (PET) | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the fundamental principle behind Magnetic Resonance Spectroscopy (MRS)? | Detection of tissue density | Measurement of blood flow velocity | Analysis of the metabolic composition of tissues | Imaging of bone structures | Visualization of electrical activity | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Cryoablation, used in medical procedures, involves the destruction of tissue by: | Intense heat | Chemical dissolution | Freezing temperatures | High-frequency sound waves | Electromagnetic radiation | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the primary function of an external defibrillator? | To regulate the patient's breathing | To deliver controlled electrical shocks to restore normal heart rhythm | To monitor the patient's vital signs | To administer medication intravenously | To provide mechanical circulatory support | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which of the following is a non-invasive method for continuously monitoring arterial blood pressure? | Arterial line insertion | Auscultation with a stethoscope | Oscillometric method | Palpation of peripheral pulses | Central venous pressure monitoring | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | What is the primary advantage of using minimally invasive surgical techniques? | Longer hospital stays | Increased post-operative pain | Smaller incisions and faster recovery times | Higher risk of infection | More extensive scarring | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | The process of verifying that a medical device performs as intended under specified conditions is known as: | Calibration | Validation | Verification | Quality control | Risk assessment | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which of the following is a common cause of failure in implantable electronic medical devices? | Exposure to excessive light | Gradual degradation of battery or components | Changes in atmospheric pressure | Static electricity from clothing | Magnetic interference from household appliances | 2 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Hydroxyapatite is a bioceramic commonly used in bone tissue engineering due to its: | High electrical conductivity | Excellent optical transparency | Similarity to the mineral component of bone | Low thermal conductivity | High flexibility | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which of the following materials is often used for the fabrication of heart valve leaflets due to its flexibility and biocompatibility? | Stainless steel | Titanium alloy | Pericardial tissue or synthetic polymers | Polyethylene | Silicone rubber | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | A thermistor, used in biomedical devices, is a type of sensor that measures: | Pressure | Flow rate | Temperature | Light intensity | Strain | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | What is the function of a piezoelectric transducer in medical ultrasound imaging? | To amplify the received sound waves | To convert electrical energy into sound waves and vice versa | To filter out unwanted noise from the signal | To display the ultrasound image | To store the ultrasound data | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Independent Component Analysis (ICA) is a signal processing technique often used in EEG to: | Increase the amplitude of the signal | Remove artifacts and separate independent sources | Filter out high-frequency noise | Enhance the spatial resolution of the recording | Compress the EEG data | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | HL7 standards primarily deal with: | Medical image storage and transmission | Electronic health record exchange and interoperability | Medical device design and safety regulations | Wireless communication protocols for medical devices | Biocompatibility testing of medical materials | 2 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Which of the following regulatory bodies is responsible for medical device approval in Canada? | FDA | EMA | Health Canada | TGA | CDSCO | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Haptic feedback in robotic surgery systems aims to provide the surgeon with a sense of: | Visual depth perception | Auditory cues | Touch and force | Olfactory information | Temperature changes | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Electromyography (EMG) biofeedback is primarily used to help patients gain control over: | Heart rate | Brainwave activity | Muscle activity | Skin conductance | Respiratory rate | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Polymerase Chain Reaction (PCR) is a technique widely used in genetic engineering for: | Sequencing DNA | Cutting DNA at specific sites | Amplifying specific DNA sequences | Introducing mutations into DNA | Separating DNA fragments by size | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | In pharmaceutical engineering, what is the purpose of a bioreactor? | To sterilize pharmaceutical products | To mix different chemical compounds | To cultivate cells or microorganisms for drug production | To package finished drug products | To analyze the chemical composition of drugs | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Goniometers are commonly used in biomechanics and rehabilitation engineering to measure: | Muscle strength | Joint angles | Ground reaction forces | Gait velocity | Oxygen consumption during exercise | 2 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Orthotic devices are primarily designed to: | Replace missing limbs | Provide support, alignment, or correction to the musculoskeletal system | Stimulate muscle contraction | Monitor physiological parameters | Deliver medication transdermally | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | The Young's modulus is a mechanical property used to characterize a biomaterial's: | Hardness | Ductility | Stiffness | Toughness | Fatigue strength | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | What is the primary function of a surgical robot's articulated arms? | To provide a stable platform for imaging devices | To manipulate surgical instruments with high precision | To deliver anesthesia gases | To monitor the patient's vital signs | To provide illumination of the surgical field | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | In telehealth systems, wearable sensors can be used to continuously monitor which of the following patient parameters remotely? | Blood glucose levels | Detailed internal organ imaging | Real-time surgical video feed | Heart rate, activity levels, and sleep patterns | Invasive blood pressure measurements | 4 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | The viscosity of a bioink used in 3D bioprinting is a critical factor that affects: | The color of the printed tissue | The electrical conductivity of the printed structure | The shape fidelity and structural integrity of the printed construct | The degradation rate of the printed material | The optical transparency of the printed tissue | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the primary purpose of Next-Generation Sequencing (NGS) in genomics? | To amplify small DNA fragments | To visualize DNA fragments by size | To rapidly determine the entire DNA sequence of an organism | To cut DNA at specific recognition sites | To introduce foreign DNA into cells | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Liquid Chromatography-Mass Spectrometry (LC-MS) is a powerful technique used in proteomics for: | Separating DNA fragments | Amplifying RNA molecules | Identifying and quantifying proteins in a sample | Imaging cellular structures at high resolution | Measuring the electrical activity of neurons | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Liposomes are often used in nanomedicine for drug delivery because they can: | Generate their own power source | Directly alter the patient's DNA | Encapsulate both hydrophilic and hydrophobic drugs | Be easily detected by X-rays | Significantly increase the patient's body temperature | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Convolutional Neural Networks (CNNs) are a type of machine learning algorithm commonly used in medical image analysis for: | Predicting patient mortality rates | Generating realistic synthetic medical images | Automated detection and classification of abnormalities | Controlling robotic surgical instruments | Analyzing patient sentiment from text data | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | In blockchain-based medical records systems, what ensures the integrity and immutability of the data? | Centralized data storage | Simple password protection | Cryptographic hashing and distributed consensus mechanisms | Relying on a single trusted authority | Frequent manual backups | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Vestibular rehabilitation using virtual reality aims to improve a patient's: | Visual acuity | Cognitive function | Balance and spatial orientation | Muscle strength in the extremities | Auditory processing | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Augmented reality can assist surgeons during operations by providing: | A completely virtual surgical environment | Real-time overlay of patient-specific data onto their view | Robotic control of surgical instruments | Remote access to expert consultation via hologram | Haptic feedback simulating tissue resistance | 2 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | What is the role of growth factors in tissue engineering scaffolds? | To provide mechanical support only | To prevent infection at the implant site | To promote cell proliferation, differentiation, and tissue formation | To make the scaffold biodegradable | To enhance the scaffold's visibility under imaging | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Which of the following is a key challenge in the long-term performance of total hip replacements? | Infection and wear of the bearing surfaces | Electrical malfunction of the implant | Rejection of the metallic components | Significant weight gain by the patient | Changes in atmospheric pressure affecting the implant | 1 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the primary function of a pulse oximeter probe? | To measure blood pressure non-invasively | To monitor the electrical activity of the heart | To estimate the percentage of oxygen saturation in arterial blood | To measure the flow rate of blood | To detect the presence of blood clots | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Which of the following is a common method for sterilizing heat-sensitive medical equipment? | Autoclaving | Dry heat sterilization | Ethylene oxide gas sterilization | Boiling in water | Gamma irradiation | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the primary purpose of a Faraday cage in an MRI suite? | To enhance the magnetic field strength | To shield the room from external radiofrequency interference | To cool down the superconducting magnets | To provide a dark environment for imaging | To prevent patient claustrophobia | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which of the following is a common material used for dental fillings due to its durability and aesthetic properties? | Pure gold | Amalgam | Composite resin | Stainless steel | Titanium | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What type of sensor is used in implantable glucose monitoring systems? | Optical sensor | Pressure sensor | Electrochemical sensor | Thermal sensor | Acoustic sensor | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Kalman filtering is a signal processing technique often used in biomedical applications for: | Removing high-frequency noise only | Estimating the state of a system from noisy measurements | Amplifying weak biological signals | Compressing large datasets of physiological data | Enhancing the spatial resolution of imaging data | 2 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | DICOM (Digital Imaging and Communications in Medicine) standards primarily govern: | Electronic health record content and structure | The design and safety of medical devices | The handling, storage, and transmission of medical images | Wireless communication protocols for patient monitoring | Biocompatibility testing procedures | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which of the following is a key ethical consideration in the development and use of artificial intelligence in healthcare? | The cost of AI implementation | The potential for job displacement among healthcare professionals | Ensuring patient data privacy and algorithmic bias | The speed at which AI can process information | The aesthetic design of AI interfaces | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Gait analysis in rehabilitation engineering typically involves measuring: | Blood pressure changes during walking | Electrical activity of the brain during movement | Kinematics and kinetics of body segments during walking | Changes in heart rate variability during ambulation | Respiratory gas exchange during exercise | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the primary function of a bone graft in orthopedic surgery? | To provide immediate mechanical support only | To prevent infection at the surgical site | To promote bone healing and new bone formation | To reduce post-operative inflammation | To increase the patient's bone density | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which of the following is a common application of electromyography (EMG) in sports medicine? | Measuring blood oxygen saturation during exercise | Assessing cardiac function during athletic activity | Evaluating muscle activation patterns and fatigue | Monitoring brainwave activity related to performance | Tracking eye movements during sports performance | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | In tissue engineering, what is the purpose of seeding cells onto a scaffold? | To provide mechanical strength to the scaffold | To make the scaffold visible under imaging | To promote tissue growth and regeneration | To control the degradation rate of the scaffold | To prevent the scaffold from being rejected by the body | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | What is a major challenge in the clinical translation of nanomedicine-based therapies? | The high cost of nanomaterial synthesis | The difficulty in large-scale production of nanoparticles | Ensuring targeted delivery and minimizing off-target effects | The lack of biocompatibility of most nanoparticles | The inability to image nanoparticles in vivo | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Federated learning in AI for healthcare aims to: | Train AI models on a single, large, centralized dataset | Distribute AI model training across multiple institutions without sharing patient data | Use AI to automate routine administrative tasks | Develop AI algorithms that can diagnose rare diseases with 100% accuracy | Create AI-powered virtual reality environments for patient therapy | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the primary advantage of using blockchain for managing medical device maintenance records? | Faster data entry | Easier data deletion | Enhanced security and transparency of records | Reduced storage space requirements | Improved aesthetic presentation of records | 3 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Biofeedback using skin conductance (GSR) is often used to help patients manage: | Chronic pain | Muscle weakness | Anxiety and stress | Balance disorders | Sleep disturbances | 3 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the primary goal of augmented reality-guided neurosurgery? | To completely automate the surgical procedure | To provide the surgeon with real-time visualization of underlying structures | To allow remote surgeons to perform the surgery | To eliminate the need for pre-operative imaging | To provide entertainment to the surgical team | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the role of decellularization in creating biological scaffolds for tissue engineering? | To increase the mechanical strength of the tissue | To remove cellular components while preserving the extracellular matrix | To introduce foreign genetic material into the tissue | To make the tissue fluorescent | To prevent the tissue from being visible under imaging | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is a biomaterial? | Biological Substance | Artificial Material Implanted in Body | Medicine | Blood | Hormones | 2 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Which organ's activity is studied using EEG? | Heart | Brain | Muscles | Lungs | Liver | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What does plethysmography measure? | Blood Pressure | Blood Flow | Oxygen Level | Respiration | Body Temperature | 2 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Which imaging technique uses ionizing radiation? | MRI | X-ray | Ultrasound | PET Scan | Endoscopy | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What is the main purpose of a defibrillator? | Measure Blood Sugar | Restart Heart Rhythm | Filter Blood | Administer Drugs | Monitor Brain Activity | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | Which material is commonly used for bone implants? | Silicon | Titanium | Polyethylene | Glass | Aluminum | 2 | 2 | 72 | 46 | VERYEASY | NA | NA
MSA | What does PET scan stand for? | Proton Emission Tomography | Positron Emission Tomography | Photon Energy Test | Pulmonary Efficiency Test | Peripheral Energy Trace | 2 | 2 | 72 | 46 | MEDIUM | NA | NA
MSA | Which device measures oxygen saturation in blood? | ECG | Pulse Oximeter | Sphygmomanometer | EEG | Thermometer | 2 | 2 | 72 | 46 | VERYEASY | NA | NA