## Sheet1
Question Type | Question | Option1 | Option2 | Option3 | Option4 | Option5 | Correct Answer | Default Marks | Default Time To Solve | Topic ID | Difficulty Level | Hint | Solution
MSA | What is the minimum ceiling height for residential rooms as per DCPR-2034? | 2.4m | 2.7m | 3.0m | 3.3m | 3.6m | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Which of these uses is NOT permitted in a Residential Zone? | Hospital | School | Petrol Pump | Hotel | All are permitted | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What is the FSI limit for redevelopment of cessed buildings in Mumbai? | 1 | 2.5 | 3 | 4 | No limit | 3 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | The minimum width of a fire escape staircase in high-rise buildings is? | 0.75m | 1.0m | 1.25m | 1.5m | 2.0m | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What percentage of area must be reserved for EWS housing in large projects? | 5% | 10% | 15% | 20% | 25% | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The maximum ground coverage + FSI for slum rehabilitation projects is? | 50% + 2.5 | 60% + 3.0 | 70% + 4.0 | 80% + 4.5 | No limit | 3 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | What is the minimum lift requirement for buildings above 24m height? | 1 lift | 2 lifts | 3 lifts | Lift not required | Depends on floor area | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum width of a wheelchair ramp in public buildings should be? | 1.0m | 1.2m | 1.5m | 1.8m | 2.0m | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Which of these is exempted from FSI calculations? | Basement | Terrace | Void area | All of the above | None of the above | 4 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | The minimum setback from a nullah (drain) for construction is? | 3m | 6m | 9m | 12m | 15m | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What is the minimum road width required for buildings above 70m height? | 9m | 12m | 18m | 24m | 30m | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The maximum permissible cantilever projection in residential buildings is? | 0.5m | 0.75m | 1.0m | 1.2m | 1.5m | 3 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Which authority grants CRZ clearance for coastal projects? | BMC | MPCB | MoEFCC | Collector | High Court | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum width of a main entrance door in residential buildings is? | 0.75m | 0.9m | 1.0m | 1.2m | 1.5m | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What percentage of total area must be reserved for recreational open space in layouts? | 5% | 10% | 15% | 20% | 25% | 3 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | The minimum width of a corridor in commercial buildings is? | 1.2m | 1.5m | 1.8m | 2.0m | 2.4m | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What is the minimum plot area for a petrol pump? | 500 sq.m. | 750 sq.m. | 1000 sq.m. | 1500 sq.m. | 2000 sq.m. | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum headroom required for basement parking is? | 2.1m | 2.4m | 2.7m | 3.0m | 3.3m | 2 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | What is the minimum road width for fire tender access in high-rise buildings? | 6m | 9m | 12m | 15m | 18m | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The maximum permissible height of a compound wall is? | 1.2m | 1.5m | 1.8m | 2.0m | 2.4m | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What is the penalty for water connection misuse? | 2000 | 5000 | 10000 | 20000 | 50000 | 3 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Who can inspect drainage works under MMC Act? | Municipal Engineer | Police Officer | MLA | Tax Collector | Any citizen | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Time limit to appeal against property tax assessment? | 15 days | 30 days | 45 days | 60 days | 90 days | 2 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Which section covers BMC's power to name streets? | Section 22 | Section 198 | Section 301 | Section 422 | Section 511 | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Minimum depth for underground drainage pipes? | 0.5m | 0.9m | 1.2m | 1.5m | 2.0m | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Who declares Special Planning Areas? | Municipal Commissioner | Collector | MPC | State Govt | High Court | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Maximum FSI in TOD zones? | 1 | 2 | 4 | 3 | 5 | 4 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Minimum open space for residential layouts? | 10% | 20% | 15% | 25% | 30% | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Section mandating environmental clearance? | Section 28 | Section 31(6) | Section 45 | Section 52 | Section 68 | 2 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Time limit for land acquisition after DP? | 1 year | 5 years | 3 years | 7 years | 10 years | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What is the minimum retention money percentage under GCC? | 2% | 5% | 10% | 15% | No retention money | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The contractor is required to insure the works against | Fire only | Theft only | All risks | Flood only | Earthquake only | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What is the primary role of the BrihanMumbai Municipal Corporation (BMC)? | Urban planning | Waste management | Public health and sanitation | Infrastructure development | All of the above | 5 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Which department within BMC handles sewage operations? | Water Supply Department | Sewerage Operations Department | Solid Waste Management Department | Public Health Department | Infrastructure Department | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What is the penalty for non-compliance with tender conditions under BMC guidelines? | ₹1,000 per day | ₹5,000 per day | ₹10,000 lump sum | ₹500 per day | ₹50,000 lump sum | 2 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Which Packet contains the price bid in BMC tenders? | Packet A | Packet B | Packet C | Packet D | Packet E | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What is the minimum retention money percentage under BMC contracts? | 2% | 5% | 10% | 15% | No retention money | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | In case of discrepancies between figures and words in the price bid, which prevails? | Figures | Words | Average | Higher value | Lower value | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Which of the following is NOT a disqualification criterion? | False representation | Poor performance | Litigation history | High bid price | Financial failure | 4 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | The SBD is primarily applicable to which type of works? | Supply only | Civil engineering works | Consultancy | Maintenance only | IT services | 2 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Which document is required to establish the legal status of the bidder? | Power of attorney | Certificate of incorporation | PAN card | Work order | GST certificate | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | MCGM reserves right to reject how many tenders? | All or any | Only selected ones | First Bidder Only | Lowest Bidder Only | None | 1 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Bidder’s financial turnover is verified by whom? | Chartered Accountant | Auditor General | Internal Auditor | Registrar Office | Company Secretary | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Which packet includes scanned PAN documents? | Packet A | Packet B | Packet C | Bidder Office | Finance Department | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | How are bidders informed about shortfalls in Packet A? | Email only | Phone call | Public Notice | Written Letter | MCGM Website Notice | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | What is the minimum validity period for the performance security? | 3 months | 6 months | 12 months | Until defect liability period | Until bid validity | 4 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Retention money is a part of which financial instrument under BMC SBD? | Security Deposit | Earnest Money Deposit | Mobilization Advance | Bid Security | Letter of Intent | 1 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | Which of the following is NOT a component of the financial bid? | Schedule B | BOQ | Quoted rates | Technical proposal | Total cost | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Which clause specifies maintenance obligation period after project completion? | Defects Liability Clause | Performance Security Clause | Bank Guarantee Clause | Retention Clause | Project Finalization Clause | 1 | 1 | 54 | 67 | MEDIUM | NA | NA
MSA | What is the purpose of the Integrity Pact in BMC tenders? | Ensure timely completion | Prevent corruption | Ensure quality | Reduce cost | Increase speed | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The maximum permissible deflection for a cantilever beam is: | Span/250 | Span/300 | Span/350 | Span/400 | Span/500 | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum percentage of steel in a footing is: | 0.12% | 0.15% | 0.2% | 0.25% | 0.3% | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The maximum slenderness ratio for a long column is: | 12 | 24 | 50 | 60 | 70 | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum thickness of a retaining wall is: | 150 mm | 200 mm | 250 mm | 300 mm | 400 mm | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The maximum spacing of bars in a retaining wall is: | 150 mm | 200 mm | 250 mm | 300 mm | 450 mm | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum cover for reinforcement in a retaining wall is: | 30 mm | 40 mm | 50 mm | 60 mm | 75 mm | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The maximum percentage of reinforcement in a footing is: | 0.5% | 1% | 1.5% | 2% | 2.5% | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum grade of concrete for marine structures is: | M20 | M25 | M30 | M35 | M40 | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The critical section for punching shear in a flat slab is at a distance of: | d/2 from column face | d/2 from drop panel edge | d from column face | 2d from column face | None of these | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum grade of concrete for post-tensioned prestressed members as per IS 1343 is: | M30 | M35 | M40 | M45 | M50 | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The process of protecting metal surfaces from corrosion by applying a layer of zinc is called: | Painting | Varnishing | Galvanizing | Enameling | Anodizing | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The unit of measurement for brickwork is usually: | Square meter | Cubic meter | Running meter | Kilogram | Number | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The purpose of providing a footing for a column is to: | Increase the load-carrying capacity of the column | Distribute the load over a wider area of soil | Prevent lateral movement of the column | Improve the appearance of the column | Reduce the weight of the structure | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The type of surveying used for laying out buildings and other structures is called: | Topographic surveying | Cadastral surveying | Hydrographic surveying | Mine surveying | Construction surveying | 5 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The instrument used for measuring angles in surveying is a: | Level | Theodolite | Plane table | Alidade | Dumpy level | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The process of determining the elevation of different points on the ground is called: | Leveling | Contouring | Traversing | Triangulation | Resection | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum grade of steel used for reinforcement in concrete as per IS codes is usually: | Fe 250 | Fe 415 | Fe 500 | Fe 550 | Fe 600 | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The phenomenon where the top surface of freshly placed concrete becomes covered with a milky layer of water is called: | Segregation | Bleeding | Honeycombing | Laitance | Efflorescence | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The type of test conducted on bricks to determine their water absorption capacity is: | Compressive strength test | Efflorescence test | Impact test | Soundness test | Water absorption test | 5 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum thickness of a slab is generally governed by considerations of: | Strength | Fire resistance | Durability | Deflection | Appearance | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The standard per capita water demand for domestic purposes in an average Indian city is generally taken as: | 50-100 lpcd | 100-200 lpcd | 200-300 lpcd | 300-400 lpcd | >400 lpcd | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The maximum daily demand of water is generally what percentage of the average daily demand? | 120% | 150% | 180% | 200% | 250% | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Which of the following is a surface source of water? | Well | Spring | Infiltration gallery | River | Aquifer | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The process of removing suspended impurities from water by allowing it to settle down under gravity is called: | Filtration | Sedimentation | Coagulation | Flocculation | Aeration | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Alum is commonly used in water treatment as a: | Disinfectant | Coagulant | Filter aid | Softening agent | Corrosion inhibitor | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The optimum pH range for effective coagulation with alum is: | 4.5 - 5.5 | 5.5 - 6.5 | 6.5 - 8.5 | 8.5 - 9.5 | > 9.5 | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The purpose of aeration in water treatment is to: | Remove hardness | Remove dissolved gases and odors | Kill pathogenic bacteria | Remove suspended solids | Improve taste | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Which of the following filters has the smallest effective size of sand grains? | Slow sand filter | Rapid sand filter | Pressure filter | Dual media filter | Anthracite filter | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The disinfection efficiency of chlorine is maximum at a pH of: | < 6.0 | 6.5 - 7.5 | 8.0 - 9.0 | > 9.5 | Around 7.0 | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The presence of residual chlorine in treated water ensures: | Palatability | Absence of turbidity | Prevention of recontamination | Removal of color | Softness of water | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The top-most layer of a flexible pavement is called: | Subgrade | Sub-base | Base course | Wearing course | Prime coat | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The purpose of providing a camber on a road surface is to: | Resist lateral forces | Drain off rainwater | Increase the stability of vehicles | Reduce traffic volume | Enhance the aesthetic appearance | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The desirable value of camber for a bituminous surface in an area of heavy rainfall is: | 1 in 30 to 1 in 40 | 1 in 40 to 1 in 50 | 1 in 50 to 1 in 60 | 1 in 60 to 1 in 70 | 1 in 70 to 1 in 80 | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The width of the carriageway for a single lane road as per IRC recommendations is: | 2.5 m | 3.0 m | 3.75 m | 4.5 m | 5.5 m | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The extra widening provided on curves is primarily to account for: | Off-tracking | Psychological widening | Sight distance requirements | Superelevation | Camber | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Which factor is NOT considered in stormwater drain design? | Rainfall intensity | Catchment area | Groundwater table | Runoff coefficient | Time of concentration | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The process of allowing stormwater to percolate into the ground is called? | Detention | Retention | Infiltration | Evaporation | Transpiration | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | A stormwater detention basin is designed to? | Increase peak runoff | Store and slowly release runoff | Prevent infiltration | Increase evaporation | Treat wastewater | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The IS code for design and construction of septic tanks is? | IS 2470 | IS 1742 | IS 1172 | IS 3370 | IS 456 | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | Which of the following is a sustainable urban drainage system (SUDS) technique? | Concrete lining | Permeable pavements | Deep tunnels | High velocity channels | Metal gratings | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The standard size of a concrete cube for compressive strength test as per IS 516 is? | 50 mm × 50 mm × 50 mm | 100 mm × 100 mm × 100 mm | 150 mm × 150 mm × 150 mm | 200 mm × 200 mm × 200 mm | 250 mm × 250 mm × 250 mm | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The minimum curing period for ordinary Portland cement concrete as per IS 456 is? | 3 days | 7 days | 10 days | 14 days | 28 days | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The workability of concrete is measured by? | Compressive strength test | Slump test | Rebound hammer test | Ultrasonic pulse velocity test | Flexural strength test | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The approximate water-cement ratio for nominal mix concrete (M20) is? | 0.30 | 0.40 | 0.5 | 0.6 | 0.7 | 3 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The main function of aggregates in concrete is to? | Provide workability | Provide strength and reduce shrinkage | Act as a binder | Reduce setting time | Increase heat of hydration | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The maximum free water-cement ratio for M25 grade concrete in severe exposure conditions as per IS 456 is? | 0.40 | 0.45 | 0.5 | 0.55 | 0.6 | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The initial setting time of OPC as per IS 269 should not be less than? | 10 minutes | 30 minutes | 1 hour | 2 hours | 5 hours | 2 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The final setting time of OPC as per IS 269 should not exceed? | 30 minutes | 1 hour | 6 hours | 10 hours | 24 hours | 4 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The standard consistency of cement is determined using? | Vicat apparatus | Le Chatelier apparatus | Compressive testing machine | Slump cone | Flow table | 1 | 1 | 54 | 67 | VERYEASY | NA | NA
MSA | The compressive strength of M20 grade concrete at 28 days should be? | 10 MPa | 20 MPa | 25 MPa | 30 MPa | 35 MPa | 2 | 1 | 54 | 67 | VERYEASY | NA | NA