## Sheet1
Question Type | Question | Option1 | Option2 | Option3 | Option4 | Option5 | Correct Answer | Default Marks | Default Time To Solve | Topic ID | Difficulty Level | Hint | Solution
MSA | Minimum setback from high-tension power lines? | 3m | 6m | 9m | 12m | 15m | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Maximum FSI for heritage structures? | 1 | 1.33 | 2 | 2.5 | As per original | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Minimum thickness of external walls in high-rises? | 150mm | 200mm | 230mm | 250mm | 300mm | 2 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | EV charging points required per 10 car parks? | 1 | 2 | 3 | 5 | 10 | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Minimum lift car size for hospitals? | 1.1x1.4m | 1.5x2.0m | 2.0x2.5m | 2.5x3.0m | 3.0x3.5m | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Maximum ground coverage for hill stations? | 30% | 40% | 50% | 60% | 70% | 2 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Minimum width of exit doors in auditoriums? | 0.9m | 1.2m | 1.5m | 1.8m | 2.0m | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | STP capacity required for 50,000L/day wastewater? | 50 KLD | 55 KLD | 60 KLD | 65 KLD | 70 KLD | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Minimum road width for hydrant points? | 6m | 9m | 12m | 15m | 18m | 2 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Maximum height of parapet wall? | 0.9m | 1.0m | 1.2m | 1.5m | 1.8m | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Minimum turning radius for fire trucks? | 6m | 9m | 12m | 15m | 18m | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Solar reflector glass prohibited above? | 24m | 30m | 45m | 60m | 70m | 2 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Minimum setback from railway boundary? | 15m | 30m | 45m | 60m | 75m | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Minimum width of stair tread in public buildings? | 250mm | 280mm | 300mm | 330mm | 350mm | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Maximum ramp slope for hospital stretchers? | 1:08 | 1:10 | 1:12 | 1:15 | 1:20 | 2 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Minimum ceiling height for basements? | 2.1m | 2.4m | 2.7m | 3.0m | 3.3m | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Maximum plot coverage for petrol pumps? | 30% | 40% | 50% | 60% | 70% | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Minimum distance between two high-rises? | 6m | 9m | 12m | 15m | 18m | 2 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Mandatory green cover for plots >1 acre? | 10% | 15% | 20% | 25% | 30% | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Minimum thickness of basement slab? | 150mm | 200mm | 250mm | 300mm | 350mm | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Under which section of MMC Act can BMC acquire land for public purposes? | Section 37 | Section 79 | Section 105 | Section 132 | Section 154 | 2 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | What is the maximum fine for unauthorized construction under MMC Act? | 10000 | 25000 | 50000 | 100000 | 200000 | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Who appoints the Municipal Commissioner? | Mayor | State Government | Corporators | Chief Minister | Governor | 2 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Minimum notice period for demolition of dangerous buildings? | 7 days | 15 days | 30 days | 45 days | 60 days | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Which section mandates rainwater harvesting for new buildings? | Section 93A | Section 101 | Section 115 | Section 203 | Section 294 | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Who prepares town planning schemes? | Municipal Engineer | Collector | Planning Authority | State Govt | Private Developers | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Minimum internal road width in group housing? | 6m | 12m | 9m | 15m | 18m | 3 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Validity period of Outline Development Plan? | 5 years | 15 years | 10 years | 20 years | 25 years | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Section for regularization of unauthorized constructions? | Section 42 | Section 65 | Section 53 | Section 78 | Section 88 | 3 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Who approves DP modifications? | Municipal Commissioner | MPC | High Court | State Govt | Urban Dev Dept | 4 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | What is the maximum percentage rebate allowed without requiring additional security deposit? | 10% | 12% | 15% | 20% | None of the above | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | When is an additional security deposit (ASD) required under GCC? | For offer with 8% rebate | For offer with 10% rebate | For offer with over 12% rebate | Any offer | No ASD is applicable | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | What is the role of the Engineer's Representative? | Approves work | Supervises and tests | Changes contract clauses | Issues penalties | Fixes rates | 2 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | What is the minimum percentage of financial turnover required for eligibility? | 10% | 20% | 30% | 40% | None of the above | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | What does "Defects Liability Period" refer to in construction contracts? | Period for contractor maintenance | Completion of works period | Period for rectifying defects | Period of penalty | Warranty period | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Which document has the highest priority in resolving discrepancies in contract documents? | Addendum to Bid | Conditions of Contract-Part I | Contract Agreement | Detailed Engineering Drawings | Specification | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | What is the role of the Municipal Commissioner in BMC? | Policy implementation | Budget approval | Infrastructure development | Public health management | All of the above | 5 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | What is the primary purpose of the Pre-Bid meeting in BMC tenders? | Clarify doubts | Amend tender documents | Discuss project scope | All of the above | None of the above | 4 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | What is the penalty for illegal dumping of waste under BMC regulations? | 1000 | 5000 | 10000 | 50000 | 100000 | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | What is the tenure of elected corporators in BMC? | 3 years | 5 years | 7 years | 10 years | No fixed tenure | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Which department handles big water supply projects in BMC? | Sewerage Operations Department | Water Supply Department | Public Health Department | Infrastructure Department | HE | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Required financial turnover as % of estimated cost? | 30% | 25% | 20% | 35% | 40% | 1 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Which department is responsible for desilting nallas in BMC? | SWD | Sewage Project | Road & Traffic | Bridges | None of the above | 1 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Supplier is read as what in MCGM e-tendering? | Contractor/Bidder | Client | Vendor | Project Manager | Supplier | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | How should EMD be paid? | Through Payment Gateway | Cash at department | Cheque | Bank Draft | Money Order | 1 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Document showing financial capability? | Chartered Accountant statement | Bank Solvency Certificate | Performance Bank Guarantee | Letter of Intent | Income Tax Return | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | E-Tender document is available on which portal? | http://portal.mcgm.gov.in | http://tenders.gov.in | http://mcgm.tenders.in | http://mumbaimunicipal.gov.in | http://india.gov.in | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Who reserves the right to reject tenders? | Municipal Commissioner | Chief Engineer | Tender Committee | State Government | Public Works Dept | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Which document is mandatory for Packet B submission in the tender process? | Technical specifications | Financial turnover certificate | Project completion certificate | All of the above | None of the above | 4 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | Who must approve deviation in bidding schedule? | Chief Engineer | Municipal Commissioner | Accounts Officer | DMC (Special Engg) | Government of Maharashtra | 1 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | The maximum slenderness ratio for a short column is: | 12 | 24 | 50 | 60 | 70 | 1 | 1 | 54 | 64 | MEDIUM | NA | NA
MSA | The critical section for one-way shear in a footing is at: | Face of column | d/2 from column face | d from column face | 2d from column face | None of these | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum thickness of a slab as per IS 456:2000 is: | 80 mm | 100 mm | 125 mm | 150 mm | 200 mm | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum diameter of longitudinal bars in a column is: | 8 mm | 10 mm | 12 mm | 16 mm | 20 mm | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The maximum spacing of stirrups in a beam is: | 0.75d | d | 300 mm | Least of (a), (b), and (c) | None of these | 4 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum number of bars in a rectangular column is: | 2 | 4 | 6 | 8 | 10 | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The maximum spacing of reinforcement in a footing slab is: | 150 mm | 200 mm | 250 mm | 300 mm | 450 mm | 4 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum cement content for M20 concrete in moderate exposure is: | 220 kg/m³ | 250 kg/m³ | 300 kg/m³ | 350 kg/m³ | 400 kg/m³ | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The maximum water-cement ratio for M25 concrete in severe exposure is: | 0.4 | 0.45 | 0.5 | 0.55 | 0.6 | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum grade of concrete for prestressed concrete is: | M20 | M25 | M30 | M35 | M40 | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The maximum water-cement ratio for reinforced concrete exposed to severe weathering conditions should be: | 0.4 | 0.45 | 0.5 | 0.55 | 0.6 | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The function of stirrups in a reinforced concrete beam is to resist: | Compressive stress | Tensile stress | Shear stress | Torsional stress | Bending stress | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum clear cover to the main reinforcement in a column should be: | 25 mm | 40 mm | 50 mm | 75 mm | 100 mm | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The unit weight of reinforced concrete is generally taken as: | 1800 kg/m³ | 2000 kg/m³ | 2400 kg/m³ | 2800 kg/m³ | 3000 kg/m³ | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The process of removing the formwork from hardened concrete is called: | Stripping | Casting | Erection | Finishing | Demoulding | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The type of roof that slopes in four directions from a central ridge is called: | Lean-to roof | Gable roof | Hip roof | Mansard roof | Gambrel roof | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The purpose of providing expansion joints in concrete structures is to: | Control cracking due to temperature changes | Increase the strength of concrete | Improve the aesthetic appearance | Facilitate construction | Reduce the weight of the structure | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum grade of concrete recommended for reinforced concrete slabs is: | M15 | M20 | M25 | M30 | M35 | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The method of bricklaying where bricks are laid with their length parallel to the face of the wall is called: | Header course | Stretcher course | English course | Flemish course | Facing course | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The maximum permissible moisture content for first-class bricks used in masonry construction is: | 5% | 10% | 15% | 20% | 25% | 4 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The process of decomposition of organic matter in sewage by anaerobic microorganisms is called: | Aerobic digestion | Anaerobic digestion | Sedimentation | Oxidation | Filtration | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The detention time in a primary sedimentation tank is usually: | 1-2 hours | 4-8 hours | 12-24 hours | 24-36 hours | > 36 hours | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The activated sludge process is an example of: | Aerobic suspended growth system | Anaerobic suspended growth system | Aerobic attached growth system | Anaerobic attached growth system | Physical treatment process | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The food to microorganism (F/M) ratio is an important parameter in: | Trickling filter | Rotating biological contactor | Activated sludge process | Oxidation pond | Septic tank | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The process in which microorganisms are attached to a fixed medium and wastewater flows over it is called: | Suspended growth system | Attached growth system | Anaerobic digestion | Chemical precipitation | Biological filtration | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | A trickling filter is a type of: | Aerobic attached growth system | Anaerobic attached growth system | Aerobic suspended growth system | Anaerobic suspended growth system | Physical treatment unit | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Oxidation ponds are primarily used for the treatment of: | Industrial wastewater | Domestic sewage | Stormwater runoff | Agricultural wastewater | Sludge | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The detention time in an oxidation pond is usually: | A few hours | 1-2 days | A few days | 2-6 weeks | Several months | 4 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Septic tanks are commonly used for: | Large cities | Small communities and individual houses | Industrial areas | Agricultural fields | Power plants | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The sludge formed after the treatment of wastewater is disposed of by: | Incineration | Land application | Dumping in rivers | Discharge into sea | All of the above (depending on treatment) | 5 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The recommended camber for bituminous roads in heavy rainfall areas as per IRC is? | 1.5% | 2.0% | 2.5% | 3% | 4% | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum width of a carriageway for a single lane in urban areas as per IRC is? | 3.0 m | 3.5 m | 3.75 m | 4.0 m | 4.25 m | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The ideal gradient for plain terrain roads as per IRC is? | 1 in 20 | 1 in 30 | 1 in 40 | 1 in 50 | 1 in 60 | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The maximum allowable superelevation on roads as per IRC in plain terrain is? | 4% | 7% | 10% | 12% | 15% | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum stopping sight distance for a design speed of 80 km/h on highways is? | 80 m | 100 m | 120 m | 140 m | 160 m | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The rational formula (Q=CiA) is used to calculate? | Infiltration rate | Peak runoff rate | Evaporation loss | Groundwater recharge | Soil moisture content | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | In the rational formula, 'C' represents? | Channel coefficient | Runoff coefficient | Climate factor | Concentration time | Catchment constant | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The time of concentration in stormwater design refers to? | Duration of rainfall | Time for water to travel from farthest point to outlet | Time between storms | Time for complete infiltration | Time for evaporation | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | Which of the following materials is NOT typically used for stormwater drains? | RCC | Brick masonry | HDPE | GI pipes | Asbestos cement | 4 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum cover over stormwater drains as per IS standards is? | 0.3 m | 0.6 m | 0.9 m | 1.2 m | 1.5 m | 4 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The main advantage of using superplasticizers in concrete is? | To increase setting time | To reduce water content without loss of workability | To increase heat of hydration | To reduce strength | To increase segregation | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The phenomenon of bleeding in concrete is due to? | Excess cement | Excess water | Excess fine aggregates | Excess coarse aggregates | Proper compaction | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The IS code for specification for coarse and fine aggregates from natural sources is? | IS 383 | IS 456 | IS 10262 | IS 516 | IS 4926 | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The test used to measure the consistency of fresh concrete is? | Compressive strength test | Slump test | Rebound hammer test | Ultrasonic pulse velocity test | Flexural strength test | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The maximum permissible chloride content in concrete for reinforced work as per IS 456 is? | 0.2 kg/m³ | 0.4 kg/m³ | 0.6 kg/m³ | 0.8 kg/m³ | 1.0 kg/m³ | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The standard test duration for compressive strength of concrete cubes is? | 7 days | 14 days | 28 days | 56 days | 90 days | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The maximum permissible slump for concrete used in pavement construction is? | 25 mm | 50 mm | 75 mm | 100 mm | 125 mm | 1 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The ratio of tensile strength to compressive strength of concrete is approximately? | 2025-02-01 | 2025-05-01 | 2025-10-01 | 2015-01-01 | 2020-01-01 | 3 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The minimum stripping time for vertical formwork of columns as per IS 456 is? | 12-24 hours | 24-48 hours | 3-7 days | 7-14 days | 14-28 days | 2 | 1 | 54 | 64 | VERYEASY | NA | NA
MSA | The main advantage of using fly ash in concrete is? | Increases early strength | Reduces heat of hydration | Decreases workability | Increases permeability | Reduces setting time | 2 | 1 | 54 | 64 | VERYEASY | NA | NA